| Building Assessment System |  |
| --- | --- |
| Foundation/Structure | Any signs of settlement, cracks in foundations, signs of water damage |
| Exterior Walls | Signs of cracking, water intrusion, separating components |
| Roof | Age of roof, signs of deteriorating, frequency of repairs, |
| Exterior Windows | Single pane windows, rust or corrosion of framing, moisture between panes |
| Exterior Doors | Warping, condition of frames, condition of hardware |
| Interior Floors | Asbestos tile, wear on tile, signs of cracking |
| Interior Walls | Signs of cracking or separation, chipping |
| Interior Doors | Wear and tear, deterioration of finish, condition of bottom , hardware |
| Ceiling | Condition of tiles or Sheetrock, sagging from humidity, grid conditions |
| Fixed Equipment | Casework, cabinets, stair railings, |
| Mechanical |  |
| Electrical Service | Age and condition of main panel, availability of additional load |
| Electrical Distribution | Condition of system, capacity of systems, overloads, |
| Plumbing Supply | Condition and type of water service, lead possibility, corrosion |
| Plumbing Fixtures | Age, condition, of fixtures, faucets, stops, drains |
| Plumbing Waste | Frequency of drain issues and any waste odors in buildings |
| Energy Generation | Age of equipment, boilers, cooling towers, condensers, wells |
| Energy Distribution | Distribution system, ducts, diffusers, wall packs, blowers, heaters |
| Controls | HVAC controls, whether there is a central system and or set back capability |
| Lighting | Condition of fixtures, types of bulbs, motion controls, condition of lenses |
| Conveyances | Elevators, lifts, ADA compliance |
| Connectivity | Status of WiFi or wired system, system capacity and load |
| Safety/Fire Protection |  |
| Exit Operation | Whether all exits are functional and not locked or blocked |
| Exit Safety | Whether exits are identified properly and not blocked |
| Fire Control Operation | Is there a fire sprinkler system |
| Fire Control Safety | Is the system working and properly inspected. |
| Fire Alarm Operation | Does the fire alarm system work and meet codes |
| Fire Alarm Connectivity | Is the fire alarm system remotely monitored and working |
| Emergency lighting | Are there emergency lights and do they work and adequately cover the building |
| Fire Resistance | Overall fire resistance of the building and are there flammables stored inside |
| Grounds |  |
| Paved Surfaces |  |
| Parking Lots | Are parking lots paved, in good repair - cracking, spalling or unlevel areas |
| Driveways | Same as parking lots and including proper signage and markings |
| Sidewalks | Are they even, cracking, chipping and ADA compliant |
| Athletic Courts | Looking for signs of cracking, settling, weeds in cracks, markings for games |
| Track | Good running surface, correct and visible markings |
| Landscape Surfaces |  |
| Lawns/Gardens | Are they well maintained, weeds, bare or worn areas |
| Athletic/Playfields | Field condition, proper fencing, condition of surfaces |
| Irrigation System | Is there irrigation where needed |
| Utilities |  |
| Water Service | Is the utility system sized properly, adequate pressure, condition of piping |
| Waste Water Service | Is the utility system sized properly, flow problems or backups |
| Storm Sewer | Is there a storm water system, are there any areas of ponding or backups |
| Site Lighting | Condition of fixtures, is lighting adequate for night time safe exit |
| Fencing | Condition of any fencing, rust, damage, functionality of gates etck |

1

1